ICMP – SURVEILLANCE SYSTEM STANDARDS – A. GENERAL

- Each casino must have a surveillance room in-house.  Exceptions would only be for commonly owned casinos, which are within the same County.  The surveillance room must be within one of the commonly owned casinos.

  - Does the surveillance room share the surveillance system with a sister casino? 			___Yes 	___No

- All personnel installing, cleaning, maintaining and repairing surveillance equipment on site must be licensed by the Division of Gaming.

  - Does the casino allow any non-licensed personnel to perform any of the above functions?		___Yes 	___No

  - Do all surveillance officers have their licenses on their person or within the room?		___ N/A	___Yes 	___No

- The time displayed on the surveillance system must be within 30 seconds of www.time.gov or the surveillance system’s time must be synced to the same source that the licensee utilizes for its gaming system.  A date/time must be imbedded on all recordings of gaming areas.  The date and time must be synchronized and set correctly and must not significantly obscure the picture.

  - Is the date/time imbedded on all recordings of the gaming area?					 ___Yes 	___No
[For Example: Randomly check 10% of the recorded images to verify that a date/time stamp is present.]

  - Is the live date/time synchronized and set correctly?						___Yes 	___No

  - Is the recorded date/time synchronized set correctly?						___Yes 	___No
[For Example: Randomly verify that 10% of the recorded images the current date/time is synchronized with www.time.gov; within 30 seconds.]

  - Is the imbedded date/time placed in a manner which does not significantly obscure the main focus of the image?
												___Yes 	___No

- Licensees are responsible for ensuring all surveillance equipment is properly functioning and the playback quality meets Division requirements.

  - Does the equipment appear to be in good working order?				___ N/A	___Yes 	___No

  - Does the equipment appear to be clean and maintained?					___ N/A	___Yes 	___No

- The licensee must have all documentation, approvals, and variances, or copies thereof, relating to surveillance, kept in the surveillance room and available upon request.

  - Are all approvals and variances available for inspection?					___ N/A	___Yes 	___No

- Licensees are responsible for training licensed surveillance employees in game protection, the play of all games, the odds payouts of table games, investigations, the use of its surveillance system and in creating a download for evidentiary purposes.

  - Can the licensee create a download for evidentiary purposes?				___ N/A	___Yes 	___No
[For Example: Have the operators create a one-minute video on a USB in AVE and MPEG formats.]

ICMP – SURVEILLANCE SYSTEM STANDARDS - C. EQUIPMENT

- All cameras must meet or exceed the requirements set within the applicable sections.

  - Are all table games cameras digital?								___Yes 	___No

- All PTZ cameras must be 360 degree functional in gaming areas and must be enclosed in a shaded housing, so that it is hidden from view.  All PTZ cameras that are required by the Division shall be digital color PTZ cameras.

  - Do all of the PTZ cameras in the gaming area pan 360 degrees?					___Yes 	___No
[For Example: Check all of the PTZ cameras in the gaming area will pan, tilt and zoom appropriately.]

  - Are the PTZ cameras enclosed in a shaded housing or dome?					___Yes 	___No
[For Example: Randomly verify that the PTZ cameras in the gaming area are enclosed in a shaded housing or dome.]

  - Is the direction that the PTZ camera is facing, concealed from view?				___Yes 	___No

- Auto iris lenses are acceptable, if they are properly adjusted at all times.  However, manual iris lenses, or auto iris lenses with a manual override, are required for PTZ cameras.

  - Does the licensee utilize Auto Iris lenses on their fixed cameras?					___Yes 	___No

  - Are the Auto Iris lenses properly adjusted?						___ N/A	___Yes 	___No

  - Do the Pan/Tilt/Zoom cameras have a manual iris lens or an auto iris lens with a manual override? 	___Yes 	___No

[For Example: Randomly choose 10% of the properties PTZ cameras and verify that the iris can be manually opened & closed]

- At least one digital monitor in the surveillance room is required with the capability of displaying any camera (live or playback) in a 23-inch or greater viewable area, not to include the system controls.  Licensees with 500 or more devices will provide a separate monitor station for reviews that does not interfere with normal operations.

  - Does the licensee have the required monitor?							___Yes 	___No

  - If the licensee has 500 or more devices, is a separate review station, which does not interfere with normal operations provided?										___ N/A	___Yes 	___No

- All work stations must be capable of video review in forward, reverse, slow motion, and frame-by-frame.

  - Do all work stations conform to this ICMP?							___Yes 	___No

- The licensee must have a failure notification system that provides notification of any recording system failure within 15 minutes.  All recording failures must be addressed within one hour of system notification.

[For Example: Have the licensee simulate a failure of the surveillance system by unplugging an input(s) to a piece of the recording equipment.]

  - Does the system provide a visual alarm within fifteen minutes of the failure?			___Yes 	___No

  - Does the system provide an audible alert within fifteen minutes of the failure?			___Yes 	___No

  - Does the licensee have procedures in place to address the failure notification within 1 hour?		___Yes 	___No
[For Example: Check the sureveillance rooms SOP when there is a failure.]

- All recordings must be erased or destroyed prior to disposal, sale to another licensee or manufacturer, or when discarded by any other means.

  - Review the licensee’s procedures to ensure that all recordings, to include discs, tapes, DVR’s and hard drives are being erased or destroyed properly									___Yes 	___No

- If the surveillance room does not have the capability to deliver a clear still photo of a camera image through email, then one color capable video printer is required in the surveillance room.	
[For Example: Randomly choose three cameras, have the licensee produce a live still photograph and a still photograph of the same image on playback.]

  - Did the surveillance room have the capability to email a clear photo?				___Yes 	___No
[For Example: Have the surveillance room email the Investigator a photo.]

  - If the system cannot email a photo, is there a printer in the surveillance room?			___Yes 	___No

  - Did the system immediately produce the still images off of playback?				___Yes 	___No

  - Was the playback still images clear?								___Yes 	___No

ICMP – SURVEILLANCE SYSTEM STANDARDS – D. CASHIER CAGES, KENO WRITER STATIONS, VAULTS, COUNT ROOMS, ELEVATORS AND KIOSKS

- In count rooms, cages, and vaults, cameras must be positioned so that all areas in the room are covered to include but not limited to, access points to and from the underside of desks and counters, storage areas, and to the highest area where an item can be stored.  Video surveillance must cover all areas where chips, tokens, cash and other cash equivalents are stored.  Count room, vaults, cashier cages must have room lighting that is hard wired.  There must be no ability to turn off the lights from inside the room or near the doors.

  - Count Room(s)	
In the count room, stationary cameras must provide a close up, unobstructed view of the cash/coin counting table where the actual count takes place.  During the count, the count team members, whether removing monies from the bucket or box, counting, sorting, verifying or storing, must not obstruct the camera view of the monies.	

The location where monies are set aside, until the end of the count and cashier verification, must be recorded by surveillance cameras that are located close enough to the monies to identify individuals accessing the funds, ensure the monies are clearly distinguishable, and can differentiate between money and other paper.

    - Is there and unobstructed close up view of the counting table while the count is on-going?	___Yes 	___No
[For Example: Review coverage of the previous drop period to ensure that the count team members are not able to obstruct the coverage of the room and count tables.]

    - Do the count team members obstruct the camera view of the monies?				___Yes 	___No
[For Example: Review coverage of the previous drop period to ensure that the count team members are not able to obstruct the coverage of the room and count tables.]

    - Are the monies clearly distinguishable from other papers?					___Yes 	___No
[For Example: Review coverage of the previous drop period to ensure that monies are clearly distingushable from other papers.]

  - Cashier Cage(s)	
In the cashier’s cage, stationary cameras must provide a close up view of the cash/coin, slot coupon and ticket transactions.  Transaction areas must be clearly marked on the counter so that cashiers know where to place currency and documents.	

Transaction cameras covering this area must be able to differentiate between bill denomination, slot coupon value, ticket value, and chip value, check value and read the driver’s license of the person making a transaction which requires a driver’s license or personal identification.	

Designated cameras must view the full face of patrons and employees making transactions with sufficient clarity to identify them at all cage windows on playback.	

The location where monies are set aside, until the end of the count and cashier verification, must be recorded by surveillance cameras that are located close enough to the monies to identify individuals accessing the funds, ensure the monies are clearly distinguishable, and can differentiate between money and other papers.

    - Is there a close-up stationary camera view of each transaction area?				___Yes 	___No

    - Are the transaction areas clearly marked on the counter?					___Yes 	___No

    - Are you able to differentiate between bill denominations?					___Yes 	___No

    - Are you able to differentiate between slot coupon values?					___Yes 	___No

    - Are you able to differentiate between ticket values?						___Yes 	___No

    - Are you able to differentiate between chip values?						___Yes 	___No

    - Are you able to read a driver’s license within the transaction square that is being utilized for check cashing?
[Check the transaction window on playback.]							___Yes 	___No

    - Are the locations where monies are set aside for the count and cashier verification covered properly?	
[Check all locations where monies are set aside while the verification is taking place.]				___Yes 	___No

    - Are there designated cameras that provide full facial coverage of all patrons and employees with sufficient clarity to identify them at all cage windows on playback?						___Yes 	___No
[For Example: Review coverage of a particular window to ensure that the quality is sufficient to identify an individual.]

    - Are the cameras positioned so that all areas in the room are covered?				___Yes 	___No

    - Are access points to and from the underside of desks and counters covered?			___Yes 	___No

    - Does the coverage include to the highest point in which items can be stored?			___Yes 	___No

  - Vault(s)

    - Are the cameras positioned so that all areas in the room are covered?				___Yes 	___No

    - Are access points to and from the underside of desks and counters covered?			___Yes 	___No

    - Does the coverage include to the highest point in which items can be stored?			___Yes 	___No

  - Elevators
Elevators used for transporting drops, fills, credits, jackpots, and gaming monies must have adequate surveillance coverage for the protection of assets, inside the elevator and at each opening on the floors.  Dumb waiters need not have surveillance inside, but must still have surveillance at each opening on the floors.

    - Does each elevator that the licensee utilizes to transport gaming funds have internal stationary camera that provides an adequate view of the inside of the elevator?					___Yes 	___No

    - Is there adequate coverage on each floor that the elevator(s) can potentially stop on?		___Yes 	___No

    - If the licensee utilizes ‘dumb waiters’ to transport gaming funds, is there adequate coverage on each floor that the dumb waiter(s) can potentially stop on?							___Yes 	___No

  - Kiosks
All cash transaction devices which are an extension of the cage, such as a kiosk or other type of device that redeems gaming tickets, slot coupons, or exchange coins, bills, or tokens shall have adequate surveillance coverage for the protection of assets.  Identification of person(s) using the device must include a view of at least one half of the person’s face and close enough to identify the person using the device.  Stand-alone ATM machines are exempt from this requirement.

    - Do such devices have adequate coverage to view the immediate area?				___Yes 	___No

    - Can you view at least one half of a person’s face close enough to identify that person?		___Yes 	___No

- Restricted key boxes, duplicate key boxes, an automated key tracking system and any other key lock system must be under surveillance.

  - Are the restricted key boxes under surveillance?							___Yes 	___No

  - Are the duplicate key boxes under surveillance?							___Yes 	___No

  - Are the automated key tracking systems under surveillance?				___ N/A	___Yes 	___No

  - Are all other key lock systems under surveillance?					___ N/A	___Yes 	___No

- Internal hallways to and from Count, Vault, and Cashier Rooms must have adequate surveillance coverage for the protection of assets.

  - Does the surveillance coverage of the hallways to and from the count room provide an adequate view of activities in the immediate areas?										___Yes 	___No

  - Does the surveillance coverage of the hallways to and from the vault provide an adequate view of activities in the immediate areas?									___ N/A	___Yes 	___No

  - Does the surveillance coverage of the hallways to and from the cashier rooms provide an adequate view of activities in the immediate areas?										___Yes 	___No

- All pouch pay, pouch bank, or change pouch, as well as their storage cabinets, lockers, or racks, etc., shall have adequate surveillance coverage at all times for the protection of assets.

  - Does the licensee restrict all pouch pay, pouch banks and change pouches to areas in which there is adequate surveillance coverage of the immediate area(s)?							___Yes 	___No

  - Do all of the storage area(s) have adequate coverage of the immediate area(s)?			___Yes 	___No

ICMP – SURVEILLANCE SYTEM STANDARDS - E. TABLE GAMES

Licensees may use either stationary cameras, PTZ cameras, or a combination of both to meet the following requirements.

- Coverage of table games must be able to view the patron and/or dealers face, cards, chips, tokens, cash, shufflers and play areas of each table.  Cameras must be able to distinguish card values on the normal setup and playback.  Any electronic table capable of game recall is not required to have coverage that reads individual card values or suits.  Table games linked to a progressive jackpot must have stationary camera coverage of the access to the progressive controller computer.  A person’s face at a gaming table is defined as the ability to view at least one half of the patrons and or the dealer’s face.  Surveillance video must be able to view and record all error indicators on all shufflers being used on all table games.

  - Utilizing PTZ Cameras are you able to…

    - …view the patron’s face for each table?							___Yes 	___No

    - …view the cards and distinguish card values for each table?					___Yes 	___No

    - …view the chips, tokens, cash, shufflers in play or use at each table?				___Yes 	___No

    - …view the play area of each table?								___Yes 	___No

  - Any electronic table capable of game recall is not required to have coverage that reads individual card vales or suits.

    - Does the licensee have electronic tables?							___Yes 	___No

  - Table games linked to a progressive jackpot must have stationary camera coverage of the access to the progressive controller computer.

    - Does the licensee have tables that are linked to a progressive controller?				___Yes 	___No

    - Is the progressive controller adequately covered by a stationary camera?			___ N/A	___Yes 	___No

- During the course of play on any table game, the dealer must not obstruct the camera view of the table tray, drop slot, or tip box.

  - Does the dealer obstruct the cameras view of the table tray, drop slot or tip box?			___Yes 	___No

[For Example: Watch each table from the dedicated stationary camera to determine if the camera is positioned in an effort to prevent obstruction.]

- The soft drop route must be under stationary or PTZ camera surveillance.

  - Does the coverage of the soft drop route adequately cover the immediate area? 			___Yes 	___No
[Review several of the camersas from the most recent soft drop.]

All Blackjack, House Banked Poker, Baccarat, Big 6 Wheel, or other Variation Games:

- All Gaming tables within this section must have stationary digital camera coverage.  Cameras must be positioned to provide an overview of the entire table, outside bumper to outside bumper, including the table tray, drop slot, toke tube, and an automatied shuffler if applicable while the game is in play.  Stationary cameras must be able to distinguish all chip, cash, card, tickets, and total values of wagers on the normal setup and playback.

  - Does each table have digital stationary camera coverage?						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the whole table, outside bumper to outside bumper?	 			___Yes 	___No

    - The table tray, drop slot and tip box?				 				___Yes 	___No

  - Does the coverage allow for all chips, cash, card, ticket and total values of wagers to be distinguished on:

    - Live view? 											___Yes 	___No

    - Playback of recorded video? 									___Yes 	___No

House Banked Poker Tables:

- Surveillance coverage is required to read suits and differentiate between chip/token cash, ticket and total wager values on playback.  Surveillance coverage must also provide a view of the table tray, tip box, toke tubes, automated shuffler, and must cover the entire table, which includes outside bumpter to outside bumper. All poker imprest banks, which are the point of chip and cash transactions for the poker tables, must have the same camera coverage as that of a cashier’s cage.

  - Does each table have stationary digital camera coverage? 						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the whole table, outside bumpter to outside bumper?				___Yes 	___No

    - The table tray, drop slot and tip box?								___Yes 	___No

  - Does the coverage allow for all chips, cash, card, ticket and total wager values, including suits, to be distinguished on:

    - Live view? 											___Yes 	___No

    - Playback of recorded video? 									___Yes 	___No

  - Does the poker imprest bank have the same camera coverage as a cashier cage?			___Yes   ___No

Big 6 Wheel tables:

- Cameras must be positioned to provide an overview of the entire table, outside bumper to outside bumper, including the table tray, drop slot, and the wheel, while the game is in play.  Stationary cameras must be able to distinguish all chip, cash, card, ticket values, and total wagers on the normal setup and playback.  All Big 6 Wheel games shall have one [1] dedicated camera viewing the Big Wheel.

  - Does the casino have Big 6 Wheel in their pit? (Not Stadium Seating)					___Yes 	___No

  - Does each table have stationary digital camera coverage?						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the entire table, outside bumper to outside bumper?				___Yes 	___No

    - The table ray, drop slot and tip box and the wheel while the game is in play?			___Yes 	___No

  - Does the coverage allow for all chips, cash, card, ticket and total wager values?				___Yes 	___No

    - Live view?											___Yes 	___No

    - Playback of recorded video?									___Yes 	___No

Pai Gow Tiles:

- All Pai Gow Tiles tables must have stationary digital camera coverage.  Cameras must be positioned to provide an overview of the entire table, outside bumper to outside bumper, the table trays, drop slots, tip boxes, toke tubes, tile value, and determine the value of any and all wagers made, tips received and dropped, live and on playback.

  - Does each table have stationary digital camera coverage?						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the entire table, outside bumper to outside bumper?				___Yes 	___No

    - The table tray, drop slot and tip box?								___Yes 	___No

  - Does the coverage allow for all chips, cash, card, ticket and total wager values, including suits, to be distinguished on:

    - Live view?											___Yes 	___No

    - Playback of recorded video?									___Yes 	___No

Poker:

- All player banked poker tables must have stationary digital camera coverage that includes the table tray, rake slide, jackpot drop area, tip box, muck cards, shuffling device, and the wagering pot.  Surveillance coverage must be able to distinguish the suits of the community cards and the winning hand on playback.  Surveillance coverage must also view the entire poker table, which includes the back of chair to the back of chair.

  - Does each table have stationary digital camera coverage? 						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the whole table, back of chair to back of chair?					___Yes   ___No

    - The table tray, rake slide, jackpot drop area, tip box, muck cards and the wagering pot?	 	___Yes   ___No

  - Does the coverage allow for distinguishing the suits of the community cards and winning hand:

    - Live view? 											___Yes 	___No

    - Playback of recorded video? 									___Yes 	___No

  - All poker table tray storage cabinets, lockers, or racks, table games validation units, etc., shall have adequate surveillance coverage for the protection of assets.

    - Is there adaquate coverage of immediate area in which the table trays are stored?		___ N/A	___Yes 	___No

  - All poker imprest banks, which are the point of chip and cash transactions for the poker tables, must have the same camera coverage as that of a cashier’s cage.

    - Does the camera coverage over the poker imprest banks meet ICMP requirements?		___ Yes ___ No

Roulette:

- All roulette tables must have a minimum of one stationary digital camera.  The cameras must be positioned to provide an overview of the entire table, to view the rails which hold chips (if any), the table trays or chip storage area, the drop slots, tip boxes, and be able to determine the value of any and all wagers made, including tips received, live and on playback.

  - Does each table have stationary digital camera coverage? 						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the entire table, outside rail to outside rail?					___Yes 	___No

    - The table trays, chip storage area, drop slots, tip boxes?				 		___Yes 	___No

    - Can the value of all wagers and tips received be determined?					___Yes 	___No

    - Can all of the tip values be determined?							___Yes 	___No

    - Live view? 											___Yes 	___No

    - Playback of recorded video? 									___Yes 	___No

  - Stationary camera coverage must also cover the wheel, so as to be able to determine the outcome of the game, live and on playback.

    - Is there a digital stationary camera coverage of each wheel?					___Yes 	___No

    - Can you determine the outcome of the game?							___Yes 	___No

    - Live view?											___Yes 	___No

    - Playback of recorded video?									___Yes 	___No

Craps:

- All craps tables must have stationary digital camera coverage.  Cameras must be positioned to provide an overview of the entire table, to view the rails which hold chips (if any), the table trays, drop slots, table game validation units, and tip boxes, tips received and dropped, live and on playback.

  - Does each table have stationary digital camera coverage?						___Yes 	___No

  - Are the cameras positioned to provide the following, while the game is in play:

    - An overview of the entire table, outside rail to outside rail?					___Yes 	___No

    - Table trays, chip storage area, drop slots, tip boxes, and toke tubes?				___Yes 	___No

    - Dice value?											___Yes 	___No

    - Tips received and dropped?									___Yes 	___No

ICMP – SURVEILLANCE SYSTEM STANDARDS - F. SLOT AREAS

- Licensees may use stationary digital PTZ, fisheye, or 360 cameras, or a combination thereof any to meet the following requirements.  Cameras must be positioned so the route of any person walking through the slot gaming area is covered at all times.

  - Does the camera coverage allow the route of any person walking through the slot gaming area to be followed? 														___Yes 	___No

- All slot machines must be under stationary camera surveillance with sufficient coverage to protect assets.  Coverage must include the the access to the progressive controller and the slot machine doors.	

Surveillance coverage must also include aisles where hard drops are transported.  During the drop, the route must be under coverage.  The slot machine surveillance coverage must be able to determine if a person is accessing the slot machine, the drop box, or is playing the slot machine on playback.

  - Are all slot machines under station area cameras that includes:					___Yes 	___No

    - the progressive controller access point?							___Yes 	___No

    - slot machine doors?							 			___Yes 	___No

[For Example: Randomly verify that 10% of the licensee’s slot banks meet the above]

  - Is the drop route under adequate camera coverage, this includes aisles where drop proceeds are transported?	
___Yes 	___No

  - Does the slot machine coverage adequately cover the machine so that it can be determined if a person is accessing the slot machine, the drop box or is playing the slot machine? 						___Yes 	___No

### Any multi-linked progressive slot machine offering a payout greater than $1,000,000 and/or any non multi-linked slot machines offering a payout of more than $500,000 must have coverage of the progressive jackpot liability in addition to the above-required coverage.  One camera showing the same liability for multiple banks of the same progressive may be allowed.

  - Does the licensee have multi-link progressive slot machines?	 					___Yes 	___No

    - Is the progressive jackpot liability identifiable on video playback? 				___Yes 	___No

ICMP – SURVEILLANCE SYSTEM STANDARDS – G. OTHER STANDARDS

- All camera views of gaming areas must be continuously recorded 24 hours a day.  The use of motion detection is authorized with a five second pre-event recording with Division approval prior to initial use.

  - Are all camera views of gaming areas continuously recorded 24 hours a day? 				___Yes 	___No

  - Does the casino utilize motion detection video recording? 						___Yes 	___No

    - Has the licensee obtained Division approval to utilize motion recording?				___Yes 	___No

    - Can the licensee provide the letter for your review?					___ N/A	___Yes	___No

    - Are the cameras that utilize motion detection recording working properly?		___ N/A	___Yes	___No

[Randomly verify that the cameras set to record utilizing motion are functioning properly]

- A complete index and guide to the casino cameras, monitors, and controls must be available in the surveillance room.  This guide must include a map of the camera locations, direction of coverage, camera numbers, and operating instructions for the surveillance equipment.  In addition, for unmanned surveillance rooms, a complete guide showing the chronological order of the hard and soft drop from start to finish must be available.  The guide should have camera numbers and details of the machines covered.

  - Is there a map of the camera locations present? 							___Yes 	___No

    - Does this map include directions of coverage?						 	___Yes 	___No

    - Camera numbers?										___Yes 	___No

  - Are there operating instructions present for the general operation of the system? 			___Yes 	___No

  - Is the surveillance room unmanned? [If Yes, answer next two questions]				___Yes 	___No

    - Does the licensee have a complete guide for the hard and soft drop?				___Yes 	___No

      - Does this guide include the chronological order of the cameras, to include camera numbers and details of the machines covered? 									___Yes 	___No

- All surveillance recordings in critical gaming areas must be kept a minimum of 15 days or until gaming document reconciliations have been completed by accounting, whichever is longer, and 10 days for all other gaming areas.

  - Does the licensee retain recordings of critical gaming areas for a minimum of 15 days? 			___Yes 	___No

[For Example: Randonly verify that the critical coverage is kept for a minimum of 15 days]

  - Does the licensee retain recordings of all other gaming areas for a minimum of 10 days?			___Yes 	___No

[For Example: Randonly verify that the all other gaming coverage is kept for a minimum of 10 days]

- Access to surveillance rooms shall be limited to employees that are essential to surveillance operations, ICO’s, casino shift managers, law enforcement agencies, service personnel, and others when approved by the Division.  The surveillance room manager has final authority regarding the authorization of access by casino personnel, except when the Division requires or authorizes access.  A current list of authorized employees and service personnel that have access to the surveillance room must be posted in the surveillance room.

  - Does the licensee maintain a current list of authorized individuals that are approved to access the surveillance room? 													___Yes 	___No

- Each casino must have a surveillance room in-house.  Exceptions would only be for commonly owned casinos, which are within the same County.  The surveillance room must be within one of the commonly owned casinos.  The casino will provide a review station, email capability or printer, map of cameras, and communication in the property that does not house the surveillance room if the casinos are not contiguous.  All equipment and security standards in the review station room will meet the minimum criteria set forth by this ICMP section.

  - Does the casino in which the surveillance room is not housed have a review station that meets Division standards?

___Yes	___No

- Surveillance rooms must remain locked and must have room for at least two people to view monitors. Licensees that have other functions housed in the surveillance room must receive Division approval.  At least one surveillance camera must be in the surveillance room to record any employee who has access to the non-surveillance equipment.

  - Is the surveillance room kept locked and secured at all times?						___Yes 	___No

  - Does the surveillance room have adequate space to allow for two persons to view the monitors?		___Yes 	___No

  - Does the licensee have Division approval (written documentation) for any other function that is housed in the surveillance room? 												___Yes 	___No

    - Does the licensee have at least one camera in the surveillance room to adequatly cover employees with access to the non-surveillance equipment?        								___Yes 	___No

    - Does the licensee retain video coverage from the surveillance camera for a minimum of 15 days?	___Yes 	___No

### Licensees with 500 or more total gaming devices (slot machines and table games) must have manned surveillance rooms during gaming hours, and during the drop and count procedure.  Licensees with less than 500 gaming devices but having one or more craps table must have manned surveillance during the hours that any craps table is open for play.  If the licensee has a combined surveillance room with a second and or third casino, manned surveillance will be required if the total number of gaming devices between all of the casinos is 500 or more.  Each combined surveillance room must be staffed for each individual license in accordance with the above minimum staffing requirements.  An authorized person competent in the operation of the surveillance equipment must relieve the surveillance agent/operator for any and all breaks.

  - How many devices does the licensee have?								____________

  - Does the licensee have craps?									___Yes 	___No

  - Is the surveillance room properly staff?								___Yes 	___No

  - Does the licensee have procedures in place to relieve operators?					___Yes 	___No

- Surveillance recordings, to include recordings for evidentiary purposes and clear still photos must be maintained for a minimum of three years and made available to the Division upon request.  All Licensee’s must be able to provide an AVI or MPEG format of video upon request by the Division of Gaming, Law Enforcement, or the District Attorney’s office of the jurisdiction the licensee is in.

  - Can the operator download a video file in AVI or MPEG formation of archived video?			___Yes 	___No

  - Is the casino saving archived video for a minimum of three years?					___Yes 	___No

- Manned surveillance rooms must have the ability to immediately send and receive e-mails of still pictures to the Division of Gaming and law enforcement for the purposes of disseminating information of suspects involved in illegal activity.  The e-mail account cannot be networked with the surveillance system.

  - Do surveillance personnel have access to immediately send and receive e-mails?			___ Yes ___ No

  - I		surveillance personnel have access to immediately send and receie e-mailsorked with the surveillance system.					ision of Gams the email account networked with the surveillance system?						___ Yes ___ No

ICMP – SURVEILLANCE SYSTEM STANDARDS - H. DIGITAL SURVEILLANCE

- Do all digital recording devices record, review and download simultaneously without an interruption of the record mode as required?												___Yes	___No

- Are Digital recording devices connected to an uninterruptible power source to ensure safe shutdown of the system in the event of a power loss, and does it reboot in the record mode?							___Yes	___No

- Does the licensee follow proper procedures regarding table games in the event of a power failure?

___Yes	___No

When necessary to perform maintenance on digital recording systems, a casino may temporarily take system components offline to perform those functions.  If it becomes necessary to take the surveillance system completely offline, the Division of Gaming must be notified, and gaming operations must cease prior to the commencement of the planned maintenance.  Maintenance functions would generally be described as rebooting, defragmenting, or other necessary information technology functions necessary to keep the digital surveillance recording system operating properly.	

Maintenance functions shall be performed at a time when it is least disruptive to operational functions of the casino and are exempt from the notification requirements of one hour for non-critical coverage loss and the notification requirements of 15 minutes for critical loss.  Any other surveillance losses or system component failure shall continue to be reported to the Division of Gaming as required.

- Does the licensee have a procedure or SOP in place when performing maintenance?				___Yes 	___No

- Does the licensee provide the Division with the necessary software/hardware to review a proprietary downloaded recording?  The media player must be imbedded within the recorded medium and must be capable of review in forward, reverse, slow motion, and frame-by-frame?										___Yes	___No

- The licensee is responsible for supplying the below listed mediums for the amount of recorded information being downloaded and transferred to a flash drive, memory stick, USB, or a portable hard drive.  VHS or any other video tape, along with CD’s DVD’s are not an acceptable format for the download or storing of video information required by the Division.  All necessary cables, programs, and instructions for use must be supplied with these devices.  The licensee must ensure that appropriate policies and controls are in place outlining the device check in/out process.  Upon completion of use, the Division will return the equipment to the licensee.  The licensee will provide a carrying case for the medium, if applicable.

  - Does the licensee have a device check in/out, “Chain of Evidence” policy in place? 			___Yes 	___No

  - Does the licensee have devices capable of transfering large volume of data for review?			___Yes	___No

- An authentication process or watermark will be required to authenticate dates/time and validity of live and archived data.  The authentication and/or watermark must be visible on the archived data as a visual verification.

  - Is the authentication present?									___Yes	___No

[For Example: Verify that the authentication process is visible during play back of archived data, on some systems this may require an additional program to view the watermark or authentication]

- If the licensee uses a network for the digital recording equipment, it must be a closed network with limited access.  The licensee must have procedures in place that prevent unauthorized access to the surveillance system.

  - Is the digital recording equipment maintained on any other network, other than a dedicated closed surveillance network?	 												___Yes 	___No

  - If the digital recording equipment is maintained on anything other than a dedicated closed surveillance network, does the licensee have written policies on the administration of the network and the employees with access to the network?

___Yes 	___No

- The licensee may allow remote access to its network for maintenance purposes and within the casino with prior approval by the Division.  Written procedures must be submitted to the Division for approval prior to allowing the remote access.  The remote access must be on a secure network.    Licensees must maintain a manually generated and system generated log that documents system upgrades, modifications, problems, and all remote access.	

The system access log must be maintained at all times to include, at a minimum:	
Date of remote access;	
Reason for the remote access;	
Full name, license number & position of person remotely accessing the system; 	
Description of how the problem was resolved or modification made to the system.

  - Does the licensee permit remote access to its network? 						___Yes 	___No

    - Does the licensee have written procedures approved by the Division? 				___Yes 	___No

    - The system access log must be  maintained at all times to include, at minimum:

      - Date of remote access?                                               						___Yes 	___No

      - Reason for the remote access?                  							___Yes 	___No

      - Full name, license number & position of person remotely accessing the system?		___Yes 	___No

      - Description of how the problem was resolved or modification made to the system?                    ___Yes 	___No

- The system generated log, at a minimum, must include the date, start time, and end time of the access.  The report must be printed monthly and tracd to the manual log.  The Division must be notified, in writing, of any variance between the manual and system log, which must include an explanation for the variance, and a reconstruction of the events that occurred.  The system and manual log must be maintained together in the surveillance room and available to the Division upon request.

  - Does the system generated log contain the necessary information?					___ Yes ___ No

  - Are the system and maunal log maintained together in the surveillance room?				___ Yes ___ No

- Surveillance room equipment must have total override capability over all other remote access surveillance equipment located outside of the surveillance room.

  - Does the licensee have remote reviewing capabilities outside of the surveillance room? 			___Yes 	___No

    - Does the surveillance system have override capability over the remote reviewing? 			___Yes 	___No

- Critical areas, table games, and PTZ cameras covering critical areas and table games will be at a minimum rate of 22 FPS with two fields per frame and must be of sufficient clarity to meet Division requirements.  Recording of non-critical areas will be at minimum rate of 7.5 FPS with two fields per frame and must be of sufficient clarity to meet Division requirements.

  - Critical areas recorded at a minimum frame rate of 22 frames per second? 				__Yes 	___No

[For Example: Randomly choose a critical camera to review. Pause the playback of the camera and advance the recording frame by frame – there should be 22 advancements for every second increment of time.]

  - Table games recorded at a minimum frame rate of 22 frames per second?				__Yes 	___No

[For Example: Randomly choose a table game to review. Pause the playback of the camera and advance the recording frame by frame – there should be 22 advancements for every second increment of time.]

  - PTZ cameras recorded at a minimum frame rate of 22 frames per second? 				__Yes 	___No

[For Example: Randomly choose a PTZ camera to review. Pause the playback of the camera and advance the recording frame by frame – there should be 22 advancements for every second increment of time.]

  - All other gaming areas recorded at a minimum frame rate of 7.5 frames per second? 			__Yes 	___No

[For Example: Randomly choose a non-critical gaming camera to review. Pause the playback of the camera and advance the recording frame by frame – there should be 7.5 advancements for every second increment of time.]

# Text boxes

# N

# C

# N

# C

# N

# C

# N/A

# C

# N

# N

# C

# N

# C

# N/A

# C

# N